## Sheet1
Packing Material 10KWp System
S No | Detail of Material | Specs | Quantity
1 | Solar Modules | 315Wp | 32 Nos
2 | MMS(Module Mounting Structure) | Structure | 1Set
3 | Inverter | 10KVA | 1 Nos
4 | Cable Black DC | 1 Core 4Sqmm | 30Mtrs
5 | Cables Red DC | 1 Core 4Sqmm | 30Mtrs
6 | Cables Green Earthing | 1Core 4Sqmm | 50Mtrs
7 | Cables AC | 4 Core4Sqmm | 20 Mtrs
8 | MC4 Connector Female | MC4 | 4Nos
9 | MC4 Connector Male | MC4 | 4 Nos
10 | Branch Connectors (2M1F & 2F1M) | MC4 1 Each | 2 Nos
11 | Chemical Earthing | Earth Electrode | 2 Nos
12 | Lightening Arrestor | Copper Pole | 1NO
13 | Bentonite Powder | 30Kg | 1Bag
14 | MCB 2Pole | 16Amps | 1 Nos
15 | MCB 4Pole | 25Amps | 1 Nos
16 | MCB Box 4Pole | Box | 1No
17 | MCB Box 2Pole | Box | 1NO
18 | Cable Clamps | 3/4" | 20Nos
19 | Cable Ties | 9" | 20Nos
20 | Nuts and Bolts | Panel /structure | As per Structure
21 | Anchor Bolts | 12MM/4" | 48Nos
22 | Conduit Pipes | 24.5m,3/4" | 7Nos

## Sheet2
Project Cost | 11 | 72000 | 792000
Subsidy | 11 | 18360 | 201960
590040
Commision | Less 1 Rs |  | 11000
GTK | Less 4 Rs |  | 44000
535040