## Sheet1
1 | SPV | 26 | 200000 | 5200000
2 | inverter | 7 | 165000 | 1155000
3 | Structure | 3.5 | 200000 | 700000
4 | Wiring | 3 | 200000 | 600000
5
6
7
8
9
10 | Transport | 1 | 200000 | 200000
11 | Others | 3 | 200000 | 600000
|  |  |  | 8455000 | 42.275
| Profit | 25% | 2113750 | 10568750 | 52.8438

## Sheet2
| Unit | Climate data location
Latitude | °N | 10.006
Longitude | °E | 78.29
Elevation | m | 195
Heating design temperature | °C | 20.35
Cooling design temperature | °C | 32.91
Earth temperature amplitude | °C | 12.26
Frost days at site | day | 0
|  |  | Month | Air temperature | Relative humidity | Daily solar radiation - horizontal | Atmospheric pressure | Wind speed | Earth temperature | Heating degree-days | Cooling degree-days
|  |  |  | °C | % | kWh/m2/d | kPa | m/s | °C | °C-d | °C-d
|  |  | January | 24.6 | 68.9% | 4.74 | 99 | 2.2 | 26.4 | 0 | 458
|  |  | February | 26.1 | 62.4% | 5.74 | 98.9 | 2.7 | 29.5 | 0 | 459
|  |  | March | 27.6 | 60.5% | 6.47 | 98.8 | 2.8 | 32.2 | 0 | 554
|  |  | April | 27.2 | 74.5% | 5.94 | 98.6 | 3 | 30.2 | 0 | 525
|  |  | May | 27.2 | 77.1% | 5.81 | 98.5 | 3.1 | 29 | 0 | 540
|  |  | June | 27.3 | 71.4% | 5.29 | 98.4 | 3.2 | 29.1 | 0 | 523
|  |  | July | 27.3 | 68.5% | 5.02 | 98.5 | 3.1 | 29.3 | 0 | 541
|  |  | August | 27.4 | 67.9% | 5.17 | 98.5 | 2.9 | 29.7 | 0 | 544
|  |  | September | 27.2 | 70.5% | 5.39 | 98.6 | 2.6 | 29.4 | 0 | 520
|  |  | October | 25.9 | 77.7% | 4.58 | 98.7 | 2.4 | 27.1 | 0 | 497
|  |  | November | 24.9 | 78.8% | 4.09 | 98.9 | 2 | 25.4 | 0 | 450
|  |  | December | 24.4 | 74.7% | 4.22 | 99 | 2.2 | 24.9 | 0 | 449
|  |  | Annual | 26.4 | 71.1% | 5.21 | 98.7 | 2.7 | 28.5 | 0 | 6060
|  |  | Measured at (m) |  |  |  |  | 10 | 0

## Fencing
S.NO. | DESCRIPTION OF ITEMS | QTY | UNIT | RATE | AMOUNT (Rs.)
1 | CS 250 Energizer include Alarm unit, On board LCD Keypad and controller duly CE marked | 1 | Each | 36750 | 36750
2 | Solar PV module of 12V / 75Wp with stand and charge controller | 1 | Each | 9000 | 9000
3 | Fencelite | 1 | Each | 1800 | 1800
4 | 12V / 100 AH Battery | 1 | Each | 9750 | 9750
5 | Lightning Diverter Kit | 1 | Each | 2250 | 2250
6 | Neon Tester | 1 | Each | 900 | 900
7 | Outdoor console rack IP 65 | 1 | Each | 9000 | 9000
8 | Intermediate posts KIWITAH of 2.4M length duly galvanized | 329 | Each | 625 | 205625
9 | End / Corner post of 40 mm sq. post duly galvanized with support of length 2.4M | 4 | Each | 2980 | 11920
10 | Step posts of 25mm sq with 25x25x3mm T angular of adequate length |  | Each |  | Actual
11 | Breakaway insulators | 2635 | Each | 10 | 26350
12 | End strain Hooks | 64 | Each | 27 | 1728
13 | End strain insulators | 64 | Each | 18 | 1152
14 | Joint Clamps | 32 | Each | 9 | 288
15 | Wire tightners | 32 | Each | 54 | 1728
16 | HT wire 2.59mm | 8800 | RMT | 5.55 | 48840
17 | DI Cable with HDPE conduit | 100 | RMT | 76 | 7600
18 | Warning sign board | 100 | Each | 49 | 4900
19 | Super Earth kit | 8 | Each | 1800 | 14400
20 | Gate top Electrification to match fence on wall | 2 | Each | 6300 | 12600
21 | Fence Erection charges | 8800 | RMT | 2.5 | 22000
22 | Post erection | Customer scope
23 | Grand Total |  |  |  | 428581
24 | TAXES @ 5% VAT | 5% |  |  | 20329
25 | TAXES @ 14% ST | 14% |  |  | 3190
26 | Transportation |  |  |  | 17200
27 | NET total |  |  |  | 469300