## Sheet1
Packing Material 7KWp System for Chennai
S No | Detail of Material | Specs | Quantity | Remarks
1 | Solar Modules | 320Wp | 22 Nos | From Factory
2 | MMS(Module Mounting Structure) | Structure | 1Set | From Factory
3 | Inverter | 6KVA | 1 Nos | From Office
4 | Cable Black | 1 Core 4Sqmm | 20Mtrs | From Office
5 | Cables Red | 1 Core 4Sqmm | 20Mtrs | From Office
6 | Cables Green | 1Core 2.5Sqmm | 50 Mtrs | From Office
7 | Cables AC | 4 Core4Sqmm | 30Mtrs | From Office
8 | MC4 Connector Female | MC4 | 2Nos | From Office
9 | MC4 Connector Male | MC4 | 2 Nos | From Office
10 | Chemical Earthing | Earth Electrode | 2 Nos | From Office
11 | Lightening Arrestor | Copper Pole | 1NO | From Office
12 | Bentonite Powder | 30Kg | 1Bag | From Office
13 | MCB 2Pole | 16Amps | 2Nos | From Office
14 | MCB 4Pole | 32Amps | 1 Nos | From Office
15 | MCB Box 4Pole | Box | 1No | From Office
16 | MCB Box 2Pole | Box | 2NO | From Office
17 | Conduit Clamps | 1" | 30Nos | From Office
18 | Cable Ties | 9" | 30Nos | From Office
19 | Nuts and Bolts | Panel /structure | As per Structure | From Factory
20 | Anchor Bolts | 12MM/4" | 56Nos | From Office
21 | Conduit Pipes | 1" | 12 Pipes | From Office
Packing Material 20KWp System for Chennai
S No | Detail of Material | Specs | Quantity | Remarks
1 | Solar Modules | 315Wp | 64Nos | From Factory
2 | MMS(Module Mounting Structure) | Structure | 1Set | From Factory
3 | Inverter | 20KVA | 1 Nos | From Factory
4 | Cable Black | 1 Core 4Sqmm | 20Mtrs | From Office
5 | Cables Red | 1 Core 4Sqmm | 20Mtrs | From Office
6 | Cables Green | 1Core 2.5Sqmm | 60Mtrs | From Office
7 | Cables AC | 4 Core 10Sqmm | 40 Mtrs | From Office
8 | MC4 Connector Female | MC4 | 4Nos | From Office
9 | MC4 Connector Male | MC4 | 4 Nos | From Office
10 | Chemical Earthing | Earth Electrode | 2 Nos | From Office
11 | Lightening Arrestor | Copper Pole | 1NO | From Office
12 | Bentonite Powder | 30Kg | 2Bags | From Office
13 | MCB 2Pole | 20Amps | 4 Nos | From Office
14 | MCB 4Pole | 63Amps | 1 Nos | From Office
15 | MCB Box 4Pole | Box | 1No | From Office
16 | MCB Box 8Pole | Box | 1NO | From Office
17 | Conduit Clamps | 1" | 50Nos | From Office
18 | Cable Ties | 9" | 1Packet | From Office
19 | Nuts and Bolts | Panel /structure | As per Structure | From Factory
20 | Anchor Bolts | 12MM/4" | 128Nos | From Office
21 | Conduit Pipes | 1" | 25Pipes | From Office
22 | Flexi Pipe | 1" | 5Mtrs | From Office