## Sheet1
Greentek India Pvt Ltd
Projects Division - South India
Customer Name | Mr.Saravanan Nesamani
Phone Number |  |  |  | E-Mail
Sales Order No. | SO/HYD/1718-00242 |  |  | INV No.
Project No. | PRO/TN/1718/007 |  |  | Dealer | Shine Agencies- Chennai
Site Address
Service No. |  |  | Tarrif | LA1A | Load Demand (KW) |  | 6KW
Project Co-Ordinator | Praveen |  | Sales Co-Ordinator |  | Sandhosh Kumar
System Capacity (KW) | 4 KW |  | On Grid / Off Grid |  | ON-Grid
Inverter Capacity (KW) | 4 KW |  | Inverter Make |  | Poly Cab
Module Capacity (KW) | 3900 W |  | Wp Per Module |  | 325 | QTY | 12
Panel Configuration | No.Strings | 2 | Module/ String |  | 6 | VOC | 264V
Roof Top Size (Feet) |  |  | Shadow free size (ft)
Roof Top Area (Sq. Feet) |  |  | Shadow free Area
Roof top Drawings if any
Structure Configuration | STD / ELE | Column's |  | Row's |  | QTY
D.C Cable | Balck |  | Red |  | Make
A.C Cable | Sq MM |  | No of Core |  | Length
CC: | Sales Co-ordinator, Project Manager, Delivery Manager, Dealer